## Calculations
Determination of ethanol by refractometry
Version 1 Concentration range of ethanol from 0 - 100%
Table 1 Volume of 100% ethanol needed to prepare calibration solutions
Cal. solution N° | V(etOH) | f(etOH)
| (ml) | (%)
1 | 0 | 0 | pure water
2 | 2 | 20
3 | 4 | 40
4 | 6 | 60
5 | 8 | 80
6 | 10 | 100 | pure ethanol
V(solution) | (ml) | 10
Version 2 Concentration range of ethanol from 0 - 40%
Table 1 Volume of 100% ethanol needed to prepare calibration solutions
Cal. solution N° | V(etOH) | f(etOH)
| (ml) | (%)
1 | 0 | 0 | pure water
2 | 1 | 10
3 | 2 | 20
4 | 3 | 30
5 | 4 | 40
Total volume of ethanol solution
V(final solution) | (ml) | 10
Table 2 Dilution of sample
Sample N° | Dilution ratio | Dilution factor | V(stock solution)
(ml)
1 | 1:1 | 2 | 5
2 | 1:2 | 3 | 3.3333
3 | 1:4 | 5 | 2
Total volume of ethanol solution
V(final solution) | (ml) | 10
| Units of sample | Units of solute
| 1 | 1
| 1 | 2
| 1 | 4

## Determination
Determination of ethanol by refractometry | [6 empty] | Insert graph here.
Table 3 Refractive index of calibration solutions
Standard | f(etOH) | nD20(1) | nD20(2) | nD20
(%)
0 | 0 | 1.333 | 1.333 | 1.333
1 | 10 | 1.335 | 1.336 | 1.3355
2 | 20 | 1.343 | 1.344 | 1.3435
3 | 30 | 1.349 | 1.349 | 1.349
4 | 40 | 1.352 | 1.354 | 1.353
Table 5 Linear regression
a | b | r2
0.000535 | 1.3321 | 0.97922
Table 4 Refractive index of sample
Sample | nD20(1) | nD20(2) | nD20 | f(etOH, diluted solution) | F | f(etOH, original solution)
(%)
S1 | 1.346 | 1.346 | 1.346 | 25.9813 | 2 | 51.9626
TABLE 6 ABSOLUTE AND RELATIVE ERROR
X |  | true value (given by instructor)
x | 51.9626 | measured value
e | 51.9626 | absolute error
er | #DIV/0! | relative error
er (%) | #DIV/0!